Isoprime Corporation

NeoData NICU Patient Data System HL7 Interface

Version 3 Update Notes

Important Notes

Version 3.2 of the HL7 Interface uses Version 4.5.1 of the Microsoft .NET Framework. For more information and to download .NET Framework 4.5.1 (Web Installer), visit the Microsoft site at:

https://www.microsoft.com/en-us/download/details.aspx?id=40773

Enhancements To Version 3 (Reverse Chronological Order)

Build 8752 (12/18/2023):

- [TFS 2955] NeoData HL7 Billing Interface

Build 8340 (11/01/2022):

- Remove the TX datatype check for birth data interface

Build 8146 (4/21/2022):

- Increase birth data comments from 64 characters to 2500 characters.

Build 8136 (4/11/2022):

- Problem fixes; Contact Isoprime Technical Support for details

Build 8104 (03/11/2022):

- Add resiliency to the Receiver/Listener related to rapid connections and pen-testing

Build 7867 (08/03/2021):

# Allow for the interface to be restarted from NeoData without requiring server access

# Better synchronization of field names across systems

# Various other minor updates and bugfixes

Build 7684 (01/14/2021):

- [15252] Expand the allowed length of translation items for labs and birth data to be 255 characters

Build 7499 (07/13/2020):

- Added support for TLS 1.2

Build 7375 (03/11/2020):

- Problem fixes; Contact Isoprime Technical Support for details

Build 7059 (04/30/2019):

- Problem fixes; Contact Isoprime Technical Support for details

Build 6873 (11/14/2018):

- Added Interface Status feature to NeoData

- Problem fixes; Contact Isoprime Technical Support for details

Build 6838 (09/24/2018)

- Add the daily data interface

- Log efficiency improvements

- Problem fixes; Contact Isoprime Technical Support for details

Build 6761 (v3.2) (07/06/2018)

- Uses the .Net Framework v4.5.1

- Removed the need for ndinterfacedefaults.cfg

Build 6677 (04/16/2018)

# - Increased length of comments allowed on lab values to 2,500 characters (from 1,000)

Build 6673 (04/10/2018)

# - Problem fixes; Contact Isoprime Technical Support for details

Build 6600 (01/29/2018)

# - Problem fixes; Contact Isoprime Technical Support for details

Build 6339 (05/10/2017)

# - Problem fixes; Contact Isoprime Technical Support for details

Build 6281 (03/13/2017):

- Includes a password prompt to access the interface manager. The default password is nicu4321 and can be changed if necessary.

- Logins and changes to the interface manager are now audited.

Build 5855 (01/12/2016):

- Maintenance release to synchronize application versions.

Build 5680 (07/21/2015)

# - Problem fixes; Contact Isoprime Technical Support for details

Build 5171 (02/27/2014)

# - Problem fixes; Contact Isoprime Technical Support for details

# Build 5142  (1/30/14):

# - Problem fixes; Contact Isoprime Technical Support for details

# Build 5128  (1/15/14):

# - Problem fixes; Contact Isoprime Technical Support for details

# Build 4856  (4/18/13):

# - Problem fixes; Contact Isoprime Technical Support for details

# Build 4806  (2/27/13):

# - Problem fixes; Contact Isoprime Technical Support for details

# Build 4791  (2/13/13):

# - Problem fixes; Contact Isoprime Technical Support for details

Build 4770 (1/22/2013):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4757 (1/9/13):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4750 (1/2/13):

- Multiple Birth Indicator is no longer a required field for ADT transactions

Build 4736 (12/21/12):

- Changes to support sending of documents with ID changes

Build 4724 (12/10/12):

This build is the first release of the 3.1 version of the interface

- Added support for sending signed documents

- Added support for mapping a single NeoData field to multiple different places in the HL7 outbound document

- Added additional NeoData fields that can be mapped to HL7 fields in outbound documents

Build 4469 (03/27/12):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4464 (03/22/12):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4458 (03/16/12):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4332 (11/14/11):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4329 (11/9/11):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4307 (10/17/11):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4297 (10/7/11):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4275 (9/15/11):

- The HL7 interface can now be configured with multiple transmitters to allow outbound transmissions to be sent to multiple entities.

- Outbound immunizations and diagnoses can now be sent from NeoData.

Note – the following list of enhancements are provided for users upgrading to Interface  Version 3 from an older Version 2 installation. These enhancements are included in Version 3.

Enhancements To Version 2 (Reverse Chronological Order)

Build 4232 (8/05/11):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4206 (7/08/11):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4189 (6/21/11):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4119 (4/12/11):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4115 (4/8/11):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4073 (2/25/11):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4058 (2/10/11):

- Problem fixes; Contact Isoprime Technical Support for details

Build 4022  (1/5/11):

- Problem fixes; Contact Isoprime Technical Support for details

- Numerous Performance and Stability Enhancements

Build 2.3.3944 (10/19/10):

- Problem fixes; Contact Isoprime Technical Support for details

- Addition of the birth data interface

Build 3889 (8/25/10):

- Problem fixes; Contact Isoprime Technical Support for details

Build 3828 (6/25/10):

- Problem fixes; Contact Isoprime Technical Support for details

- Removed the message type filter.  Message filtering is done behind the scenes now

- Repurpose ServiceDateTime to more accurately reflect the actual date and time of the service (Admit notes populate with Admission Date/Time, Progress Notes with the day of service at midnight, Discharge notes with the date/time of discharge)

- The Unique Document ID is now formed such that it should be unique not only within NeoData, but across all vendors (we now append NDISO to all note ids on outbound notes)

- IMPORTANT NOTE: This update will affect the way that Unique Document IDs are generated on outbound notes; if you send a note using an older version of the interface you will not be able to correct that note (replace it in your HIS system) using this new version.  You should take this into account as you plan your update.  We recommend that you perform the update either before your notes have been done for the day or after all your notes are complete.

Build 3820 (6/18/10):

- Problem fixes; Contact Isoprime Technical Support for details

Build 3816 (6/14/10):

- Problem fixes; Contact Isoprime Technical Support for details

Build 3813 (6/10/10):

- Filtering (dept, event, etc) is done earlier in the process to reduce server load and increase responsiveness

Build 3778 (5/10/10):

- Adds the ability to send Corrected Notes via MDM

- Adds the ability to send Delete Note notices via MDM

- Adds the ability to display Message Control ID to the Lab Transfer screen

- Problem fixes; Contact Isoprime Technical Support for details

Build 3720 (3/9/10):

- Changes to accommodate longer ID lengths (Med Rec ID, Admission ID, Secondary ID) up to 30 characters

- Allows for two hospitals to be using the same NeoData database

- Problem fixes; Contact Isoprime Technical Support for details

Build 3706 (2/25/10):

- The Change Admission Screen is no longer subject to the "View ADT for last N Days" setting in the configuration - it will display any available change records for a patient regardless of when the patient was admitted (Isoprime Interface Only)

- Consult Notes have been changed to better accomodate the MDM interface and be more consistent with regular (non-consult) patient notes

- Added ability to match interface lab results by Admission ID by default (previously you had to check "Match by Admission ID" each time you opened up the Lab Transfer screen) (Isoprime Interface Only)

- The Lab Results Transfer Screen will now bold duplicate last names if the "Bold Duplicate Names in Current Patient List" option is enabled in the general configuration (Isoprime Interface Only)

- The Interface will now ignore any A08 transactions that would not modify information in NeoData (i.e. the field that changed that caused the A08 to be generated is not one of the fields that is tracked in NeoData) (Isoprime Interface Only)

- The A08 Pending alert rule has been expanded to match on Secondary ID as well as MRN and AdmitID

- The Secondary ID field on the birth screen now displays the label specified in the Configuration File, not the one specified in the field parameters section of the form parameters screen

- Changed the Transfer screen header panel to be more intuitive

- Changed the default MapLines for BirthDate and BirthTime

- Problem fixes; Contact Isoprime Technical Support for details